## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-09
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 98.6 |  | 79.2 |  | 67.3 | 96.3
Low: |  | 57.7 |  | 62.8 |  | 60.1 | 75
Conditions: |  | Sunny |  | Overcast |  | Patchy rain nearby | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 80451.7685 | 17 | 10788.9285 |  | 4868.9705 | 20813.4
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 26594.4889 | 17 | 1577 |  | 1728.6418 | 8625.43
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 44954.6971 | 19 | 4853.73 |  | 3353.73 | 18082.41
Includes CFE, CISO & LDWP
WI TOTAL |  | 150837.8723 | 18 | 17947.7824 |  | 9501.8044 | 46540.24
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 87374 | 17 | 16218
SRSG |  | 26162 | 17 | 4416
CAMX* |  | 42690 | 18 | 6919
WI TOTAL |  | 155932 | 17 | 26882
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 79.2
Low (F) | 62.8
Overcast |  | 80451.7685 | 88.71% | 88.71% | 11.29% | 80,452 MW
|  | 26594.4889 | 89.76% | 89.76% | 10.24% | 26,594 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 70.7 | 44954.6971 | 73.22% | 73.22% | 26.78% | 44,955 MW
Low (F) | 60.1
Overcast
Billings, MT
High (F) | 101.8
Low (F) | 58.1
Sunny
Loveland, CO
High (F) | 100.6
Low (F) | 59.2
Sunny
Los Angeles, CA
High (F) | 76.1
Low (F) | 63
Partly Cloudy
Phoenix, AZ
High (F) | 116.8
Low (F) | 85.5
Sunny
Salt Lake City, UT
High (F) | 99.5
Low (F) | 59.7
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
80,452 MW
26,594 MW
44,955 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend