## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-14
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 105.3 |  | 57.9 |  | 73.4 | 99.3
Low: |  | 59.7 |  | 50.4 |  | 59.7 | 75.6
Conditions: |  | Sunny |  | Heavy rain |  | Overcast | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 83449.2156 | 17 | 11542.8355 |  | 5037.5975 | 21188.2
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 23911.4541 | 18 | 2324 |  | 1554.2445 | 8005.95
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 43473.572 | 19 | 5374.69 |  | 3316.69 | 17398.96
Includes CFE, CISO & LDWP
WI TOTAL |  | 149365.8879 | 18 | 18736.0815 |  | 9558.8035 | 45474.11
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 86353 | 17 | 14521
SRSG |  | 24414 | 16 | 4578
CAMX* |  | 40565 | 18 | 6551
WI TOTAL |  | 150561 | 18 | 24837
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 57.9
Low (F) | 50.4
Heavy rain |  | 83449.2156 | 92.01% | 92.01% | 7.989% | 83,449 MW
|  | 23911.4541 | 80.7% | 80.7% | 19.3% | 23,911 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 71.8 | 43473.572 | 70.81% | 70.81% | 29.19% | 43,474 MW
Low (F) | 56.6
Overcast
Billings, MT
High (F) | 98.8
Low (F) | 57.6
Sunny
Loveland, CO
High (F) | 95
Low (F) | 61.9
Partly Cloudy
Los Angeles, CA
High (F) | 71.4
Low (F) | 60.8
Partly Cloudy
Phoenix, AZ
High (F) | 107.8
Low (F) | 85.5
Partly Cloudy
Salt Lake City, UT
High (F) | 97.9
Low (F) | 59
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
83,449 MW
23,911 MW
43,474 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend