## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-15
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 99.1 |  | 66.9 |  | 83.7 | 97.2
Low: |  | 60.3 |  | 47.1 |  | 63.7 | 78.3
Conditions: |  | Sunny |  | Partly Cloudy |  | Sunny | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 81109.4301 | 17 | 11478.2304 |  | 5272.113 | 22130.41
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 24056.1707 | 17 | 2675 |  | 1563.6511 | 8994.34
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 41099.7316 | 19 | 4757.89 |  | 3145.89 | 20898.69
Includes CFE, CISO & LDWP
WI TOTAL |  | 144650.2966 | 18 | 18585.6372 |  | 9106.2562 | 50797.44
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 86177 | 16 | 17972
SRSG |  | 24334 | 16 | 4797
CAMX* |  | 43905 | 18 | 6763
WI TOTAL |  | 153492 | 17 | 28377
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-07-14 | WACM | Path 30 |  | 4 | 1

## Map
95
Weather Information
Calgary, AB
High (F) | 66.9
Low (F) | 47.1
Partly Cloudy |  | 81109.4301 | 89.43% | 89.43% | 10.57% | 81,109 MW
|  | 24056.1707 | 81.19% | 81.19% | 18.81% | 24,056 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 92.7 | 41099.7316 | 66.94% | 66.94% | 33.06% | 41,100 MW
Low (F) | 57.6
Sunny
Billings, MT
High (F) | 62.8
Low (F) | 53.1
Moderate rain
Loveland, CO
High (F) | 98.2
Low (F) | 56.7
Sunny
Los Angeles, CA
High (F) | 73.2
Low (F) | 62.2
Overcast
Phoenix, AZ
High (F) | 106.7
Low (F) | 83.5
Sunny
Salt Lake City, UT
High (F) | 97.7
Low (F) | 60.1
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
81,109 MW
24,056 MW
41,100 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend