## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-18
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 99.9 |  | 72.5 |  | 70 | 98.1
Low: |  | 58.3 |  | 43.7 |  | 61.7 | 80.8
Conditions: |  | Sunny |  | Overcast |  | Partly Cloudy | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 77194.9188 | 17 | 13409.3903 |  | 4907.9233 | 22383.74
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 23249.0673 | 17 | 2663 |  | 1511.1894 | 9309.06
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 40150.343 | 19 | 4337.16 |  | 3104.16 | 19144.61
Includes CFE, CISO & LDWP
WI TOTAL |  | 139081.7499 | 18 | 20926.4668 |  | 9106.4598 | 49585.41
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 82378 | 17 | 16445
SRSG |  | 22525 | 16 | 4788
CAMX* |  | 40827 | 18 | 6329
WI TOTAL |  | 145322 | 17 | 27690
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
07-17/07-18 | WACM | Path 31 |  | 4 | 11

## Map
95
Weather Information
Calgary, AB
High (F) | 72.5
Low (F) | 43.7
Overcast |  | 77194.9188 | 85.11% | 85.11% | 14.89% | 77,195 MW
|  | 23249.0673 | 78.46% | 78.46% | 21.54% | 23,249 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 86.4 | 40150.343 | 65.39% | 65.39% | 34.61% | 40,150 MW
Low (F) | 58.6
Sunny
Billings, MT
High (F) | 88.2
Low (F) | 56.1
Partly Cloudy
Loveland, CO
High (F) | 95.9
Low (F) | 59.9
Partly Cloudy
Los Angeles, CA
High (F) | 70.9
Low (F) | 60.6
Partly Cloudy
Phoenix, AZ
High (F) | 110.5
Low (F) | 82.9
Sunny
Salt Lake City, UT
High (F) | 90.5
Low (F) | 61.7
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
77,195 MW
23,249 MW
40,150 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend