## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-21
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 90.7 |  | 66.2 |  | 70 | 102.7
Low: |  | 57.4 |  | 48.2 |  | 58.1 | 82.6
Conditions: |  | Sunny |  | Moderate rain |  | Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 74422.6396 | 17 | 12936.0173 |  | 4849.6584 | 21368.1
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21580.0492 | 18 | 2541 |  | 1402.7032 | 8506.91
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 37516.9202 | 20 | 5029.51 |  | 2971.51 | 17621.73
Includes CFE, CISO & LDWP
WI TOTAL |  | 131932.4858 | 19 | 20040.4943 |  | 8818.7953 | 46378.74
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 75298 | 17 | 18606
SRSG |  | 19727 | 17 | 5183
CAMX* |  | 37312 | 18 | 6059
WI TOTAL |  | 131943 | 18 | 28986
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 66.2
Low (F) | 48.2
Moderate rain |  | 74422.6396 | 82.06% | 82.06% | 17.94% | 74,423 MW
|  | 21580.0492 | 72.83% | 72.83% | 27.17% | 21,580 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 78.6 | 37516.9202 | 61.1% | 61.1% | 38.9% | 37,517 MW
Low (F) | 57.6
Partly Cloudy
Billings, MT
High (F) | 91.4
Low (F) | 58.5
Partly Cloudy
Loveland, CO
High (F) | 93.4
Low (F) | 61.3
Partly Cloudy
Los Angeles, CA
High (F) | 72.5
Low (F) | 62.6
Cloudy
Phoenix, AZ
High (F) | 104.4
Low (F) | 79.5
Partly Cloudy
Salt Lake City, UT
High (F) | 95.2
Low (F) | 61.3
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
74,423 MW
21,580 MW
37,517 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend