## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-22
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 78.3 |  | 49.5 |  | 74.3 | 104.2
Low: |  | 56.1 |  | 46 |  | 60.3 | 80.8
Conditions: |  | Overcast |  | Heavy rain |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 73796.5472 | 18 | 14532.8405 |  | 4652.2565 | 22128.91
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21090.2057 | 18 | 2998 |  | 1370.8634 | 8111.15
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 36721.6198 | 20 | 5040.27 |  | 2942.27 | 19148.71
Includes CFE, CISO & LDWP
WI TOTAL |  | 130305.3384 | 19 | 20908.8714 |  | 8600.8274 | 48275.77
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 77437 | 17 | 17155
SRSG |  | 21839 | 17 | 6755
CAMX* |  | 38344 | 10 | 6001
WI TOTAL |  | 136822 | 17 | 30372
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 49.5
Low (F) | 46
Heavy rain |  | 73796.5472 | 81.37% | 81.37% | 18.63% | 73,797 MW
|  | 21090.2057 | 71.18% | 71.18% | 28.82% | 21,090 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 84.7 | 36721.6198 | 59.81% | 59.81% | 40.19% | 36,722 MW
Low (F) | 55.4
Sunny
Billings, MT
High (F) | 84
Low (F) | 60.1
Partly Cloudy
Loveland, CO
High (F) | 98.1
Low (F) | 61.5
Partly Cloudy
Los Angeles, CA
High (F) | 71.8
Low (F) | 63.1
Partly Cloudy
Phoenix, AZ
High (F) | 101.3
Low (F) | 78.1
Overcast
Salt Lake City, UT
High (F) | 91
Low (F) | 60.4
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
73,797 MW
21,090 MW
36,722 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend