## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-23
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 89.8 |  | 77.2 |  | 70 | 104.5
Low: |  | 56.8 |  | 41 |  | 63 | 81.5
Conditions: |  | Sunny |  | Partly Cloudy |  | Overcast | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 75661.7545 | 17 | 14193.1752 |  | 4746.5072 | 22717.21
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 20629.0056 | 18 | 2954 |  | 1340.8854 | 7967.03
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 37828.5927 | 20 | 4311.21 |  | 2993.21 | 17506.23
Includes CFE, CISO & LDWP
WI TOTAL |  | 132657.4906 | 19 | 21093.9247 |  | 8671.1667 | 47014.47
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 77705 | 16 | 17463
SRSG |  | 22002 | 15 | 5831
CAMX* |  | 37407 | 19 | 5594
WI TOTAL |  | 135801 | 17 | 29489
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 77.2
Low (F) | 41
Partly Cloudy |  | 75661.7545 | 83.42% | 83.42% | 16.58% | 75,662 MW
|  | 20629.0056 | 69.62% | 69.62% | 30.38% | 20,629 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 88.3 | 37828.5927 | 61.61% | 61.61% | 38.39% | 37,829 MW
Low (F) | 59.4
Sunny
Billings, MT
High (F) | 81.9
Low (F) | 62.1
Moderate rain
Loveland, CO
High (F) | 89.1
Low (F) | 61.2
Patchy rain nearby
Los Angeles, CA
High (F) | 71.2
Low (F) | 62.8
Partly Cloudy
Phoenix, AZ
High (F) | 106.7
Low (F) | 81.5
Sunny
Salt Lake City, UT
High (F) | 91.9
Low (F) | 57
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
75,662 MW
20,629 MW
37,829 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend