## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-24
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 90 |  | 83.8 |  | 65.3 | 101.7
Low: |  | 57 |  | 51.6 |  | 59.5 | 82.4
Conditions: |  | Sunny |  | Sunny |  | Overcast | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 76473.6341 | 17 | 11846.208 |  | 4744.118 | 21835.42
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21454.1029 | 18 | 2716 |  | 1394.5167 | 7645.84
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 37791.0006 | 20 | 4269.94 |  | 2986.94 | 17071.26
Includes CFE, CISO & LDWP
WI TOTAL |  | 134085.3846 | 18 | 19618.6411 |  | 8822.9111 | 45298.52
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 80083 | 17 | 15658
SRSG |  | 22040 | 17 | 6471
CAMX* |  | 38821 | 18 | 6334
WI TOTAL |  | 140479 | 17 | 28448
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 83.8
Low (F) | 51.6
Sunny |  | 76473.6341 | 84.32% | 84.32% | 15.68% | 76,474 MW
|  | 21454.1029 | 72.41% | 72.41% | 27.59% | 21,454 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 79.2 | 37791.0006 | 61.55% | 61.55% | 38.45% | 37,791 MW
Low (F) | 58.3
Overcast
Billings, MT
High (F) | 90
Low (F) | 55.2
Sunny
Loveland, CO
High (F) | 88.9
Low (F) | 56.7
Thundery outbreaks in nearby
Los Angeles, CA
High (F) | 71.8
Low (F) | 61.2
Partly Cloudy
Phoenix, AZ
High (F) | 109
Low (F) | 75.4
Sunny
Salt Lake City, UT
High (F) | 93.6
Low (F) | 60.1
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
76,474 MW
21,454 MW
37,791 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend