## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-25
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 89.2 |  | 69.8 |  | 60.1 | 98.1
Low: |  | 56.7 |  | 52.9 |  | 56.1 | 82.4
Conditions: |  | Sunny |  | Overcast |  | Overcast | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 74003.5026 | 17 | 11262.3562 |  | 4647.4522 | 21059.84
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 22107.8823 | 17 | 2583 |  | 1437.0124 | 7758.11
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 36140.3093 | 20 | 5307.94 |  | 2934.94 | 17446.24
Includes CFE, CISO & LDWP
WI TOTAL |  | 130214.134 | 18 | 19598.9266 |  | 8703.7326 | 45252.19
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 80488 | 17 | 16844
SRSG |  | 22826 | 17 | 4293
CAMX* |  | 39433 | 17 | 6469
WI TOTAL |  | 142747 | 17 | 27606
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 69.8
Low (F) | 52.9
Overcast |  | 74003.5026 | 81.6% | 81.6% | 18.4% | 74,004 MW
|  | 22107.8823 | 74.61% | 74.61% | 25.39% | 22,108 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 68 | 36140.3093 | 58.86% | 58.86% | 41.14% | 36,140 MW
Low (F) | 55.4
Overcast
Billings, MT
High (F) | 95.5
Low (F) | 58.6
Sunny
Loveland, CO
High (F) | 94.5
Low (F) | 57.2
Partly Cloudy
Los Angeles, CA
High (F) | 70.2
Low (F) | 62.1
Overcast
Phoenix, AZ
High (F) | 111.2
Low (F) | 76.8
Sunny
Salt Lake City, UT
High (F) | 90
Low (F) | 55.9
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
74,004 MW
22,108 MW
36,140 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend