## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-30
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 97.3 |  | 79.3 |  | 76.1 | 98.6
Low: |  | 59 |  | 53.6 |  | 61.7 | 82.2
Conditions: |  | Sunny |  | Partly Cloudy |  | Partly Cloudy | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 78481.8377 | 17 | 12099.6505 |  | 4905.1625 | 22435.34
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 23956.7211 | 18 | 2776 |  | 1557.1869 | 7773.17
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 41483.3575 | 19 | 5288.21 |  | 3187.21 | 17332.43
Includes CFE, CISO & LDWP
WI TOTAL |  | 142656.2871 | 18 | 19802.1547 |  | 9349.8067 | 46503.94
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 84541 | 17 | 16565
SRSG |  | 24801 | 17 | 5347
CAMX* |  | 42134 | 17 | 6283
WI TOTAL |  | 151476 | 17 | 28195
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 79.3
Low (F) | 53.6
Partly Cloudy |  | 78481.8377 | 86.53% | 86.53% | 13.47% | 78,482 MW
|  | 23956.7211 | 80.85% | 80.85% | 19.15% | 23,957 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 87.4 | 41483.3575 | 67.56% | 67.56% | 32.44% | 41,483 MW
Low (F) | 58.3
Partly Cloudy
Billings, MT
High (F) | 72.9
Low (F) | 58.5
Thundery outbreaks in nearby
Loveland, CO
High (F) | 78.8
Low (F) | 59.9
Thundery outbreaks in nearby
Los Angeles, CA
High (F) | 75.7
Low (F) | 62.8
Partly Cloudy
Phoenix, AZ
High (F) | 112.8
Low (F) | 83.3
Sunny
Salt Lake City, UT
High (F) | 99
Low (F) | 55.2
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
78,482 MW
23,957 MW
41,483 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend