## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-31
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 99.7 |  | 79.7 |  | 75.4 | 101.3
Low: |  | 58.8 |  | 57.7 |  | 64 | 71.5
Conditions: |  | Sunny |  | Sunny |  | Cloudy | Heavy rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 78349.4217 | 17 | 11201.7155 |  | 4851.7165 | 21059.35
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 24150.6504 | 17 | 2678 |  | 1569.7923 | 7996.83
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 41729.9563 | 19 | 5232.35 |  | 3174.35 | 18874.48
Includes CFE, CISO & LDWP
WI TOTAL |  | 143021.8696 | 18 | 19172.7101 |  | 9333.7711 | 46972.66
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 82693 | 16 | 16065
SRSG |  | 25579 | 17 | 4655
CAMX* |  | 42301 | 18 | 6764
WI TOTAL |  | 150245 | 17 | 26962
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 79.7
Low (F) | 57.7
Sunny |  | 78349.4217 | 86.39% | 86.39% | 13.61% | 78,349 MW
|  | 24150.6504 | 81.51% | 81.51% | 18.49% | 24,151 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 73.9 | 41729.9563 | 67.97% | 67.97% | 32.03% | 41,730 MW
Low (F) | 58.6
Cloudy
Billings, MT
High (F) | 85.1
Low (F) | 59.5
Partly Cloudy
Loveland, CO
High (F) | 85.1
Low (F) | 51.4
Partly Cloudy
Los Angeles, CA
High (F) | 76.1
Low (F) | 61.9
Partly Cloudy
Phoenix, AZ
High (F) | 114.3
Low (F) | 82
Sunny
Salt Lake City, UT
High (F) | 96.1
Low (F) | 55
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
78,349 MW
24,151 MW
41,730 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend