## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-08-06
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 101.8 |  | 77.4 |  | 68.2 | 97.9
Low: |  | 61.9 |  | 51.8 |  | 59.7 | 74.5
Conditions: |  | Sunny |  | Partly Cloudy |  | Heavy rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 76947.3357 | 17 | 11070.3481 |  | 4793.3581 | 22023.56
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 27007.9785 | 17 | 2882 |  | 1755.5186 | 8594.75
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 45939.7523 | 19 | 4583.66 |  | 3376.66 | 18852.47
Includes CFE, CISO & LDWP
WI TOTAL |  | 149139.5693 | 18 | 18701.2076 |  | 9691.6276 | 48255.78
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 81036 | 17 | 16393
SRSG |  | 27698 | 16 | 4464
CAMX* |  | 43409 | 18 | 6449
WI TOTAL |  | 151992 | 17 | 27489
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-08-05 | WACM | Path 30 |  | 4 | 7
2025-08-05 | WACM | Path 36 |  | 4 | 1

## Map
95
Weather Information
Calgary, AB
High (F) | 77.4
Low (F) | 51.8
Partly Cloudy |  | 76947.3357 | 84.84% | 84.84% | 15.16% | 76,947 MW
|  | 27007.9785 | 91.15% | 91.15% | 8.849% | 27,008 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 74.5 | 45939.7523 | 74.82% | 74.82% | 25.18% | 45,940 MW
Low (F) | 60.3
Moderate rain
Billings, MT
High (F) | 92.5
Low (F) | 54.7
Sunny
Loveland, CO
High (F) | 102.2
Low (F) | 56.5
Sunny
Los Angeles, CA
High (F) | 71.4
Low (F) | 62.8
Partly Cloudy
Phoenix, AZ
High (F) | 118.6
Low (F) | 85.8
Sunny
Salt Lake City, UT
High (F) | 100.8
Low (F) | 59.2
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
76,947 MW
27,008 MW
45,940 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend