## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-08-08
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 108.1 |  | 68 |  | 66.2 | 101.8
Low: |  | 67.1 |  | 53.6 |  | 54.7 | 78.8
Conditions: |  | Sunny |  | Overcast |  | Partly Cloudy | Thundery outbreaks in nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 74104.3518 | 17 | 11295.9483 |  | 4695.7113 | 21494
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 26535.8048 | 17 | 3021 |  | 1724.8273 | 8485.81
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 47565.7362 | 18 | 5190.94 |  | 3555.94 | 19084.8
Includes CFE, CISO & LDWP
WI TOTAL |  | 148073.9545 | 18 | 19297.7721 |  | 9727.3751 | 48047.61
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 78698 | 17 | 17415
SRSG |  | 28908 | 17 | 4762
CAMX* |  | 49905 | 18 | 5955
WI TOTAL |  | 157196 | 17 | 28579
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 68
Low (F) | 53.6
Overcast |  | 74104.3518 | 81.71% | 81.71% | 18.29% | 74,104 MW
|  | 26535.8048 | 89.56% | 89.56% | 10.44% | 26,536 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 79.7 | 47565.7362 | 77.47% | 77.47% | 22.53% | 47,566 MW
Low (F) | 54.1
Partly Cloudy
Billings, MT
High (F) | 80.4
Low (F) | 54.9
Partly Cloudy
Loveland, CO
High (F) | 100.6
Low (F) | 63.5
Partly Cloudy
Los Angeles, CA
High (F) | 81.7
Low (F) | 66
Partly Cloudy
Phoenix, AZ
High (F) | 112.1
Low (F) | 84.9
Sunny
Salt Lake City, UT
High (F) | 81.5
Low (F) | 59.5
Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
74,104 MW
26,536 MW
47,566 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend