## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-08-13
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 97.2 |  | 83.8 |  | 68.2 | 100.9
Low: |  | 58.3 |  | 55 |  | 62.8 | 80.4
Conditions: |  | Sunny |  | Sunny |  | Cloudy | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 81864.5856 | 17 | 14073.6347 |  | 5321.1981 | 21262.79
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 25273.6284 | 17 | 2698 |  | 1642.7858 | 9128.55
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 44437.9185 | 19 | 5317.64 |  | 3329.64 | 18308.66
Includes CFE, CISO & LDWP
WI TOTAL |  | 150541.3784 | 18 | 22810.215 |  | 9671.74 | 47519
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 90358 | 16 | 13248
SRSG |  | 26441 | 16 | 4509
CAMX* |  | 45319 | 18 | 6729
WI TOTAL |  | 162062 | 17 | 23403
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-08-12 | WACM | Path 30 |  | 4 | 3

## Map
95
Weather Information
Calgary, AB
High (F) | 83.8
Low (F) | 55
Sunny |  | 81864.5856 | 90.26% | 90.26% | 9.736% | 81,865 MW
|  | 25273.6284 | 85.3% | 85.3% | 14.7% | 25,274 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 83.3 | 44437.9185 | 72.38% | 72.38% | 27.62% | 44,438 MW
Low (F) | 61.2
Partly Cloudy
Billings, MT
High (F) | 98.1
Low (F) | 59.4
Sunny
Loveland, CO
High (F) | 99.9
Low (F) | 57.9
Sunny
Los Angeles, CA
High (F) | 76.1
Low (F) | 64.4
Partly Cloudy
Phoenix, AZ
High (F) | 111.6
Low (F) | 87.4
Sunny
Salt Lake City, UT
High (F) | 98.2
Low (F) | 59
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
81,865 MW
25,274 MW
44,438 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend