## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-08-15
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 103.6 |  | 75.2 |  | 62.2 | 101.3
Low: |  | 63.9 |  | 50.9 |  | 57.2 | 77.7
Conditions: |  | Sunny |  | Overcast |  | Heavy rain | Thundery outbreaks in nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 74313.2074 | 17 | 14218.775 |  | 4657.032 | 22025.3
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 22936.3344 | 17 | 2745 |  | 1410.33 | 8823.35
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 40668.2614 | 19 | 5277.58 |  | 3173.58 | 17257.52
Includes CFE, CISO & LDWP
WI TOTAL |  | 136688.0796 | 18 | 21909.1456 |  | 9179.4126 | 46818.17
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 80522 | 16 | 16808
SRSG |  | 24220 | 17 | 4450
CAMX* |  | 42894 | 17 | 6435
WI TOTAL |  | 147337 | 17 | 27884
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 75.2
Low (F) | 50.9
Overcast |  | 74313.2074 | 81.94% | 81.94% | 18.06% | 74,313 MW
|  | 22936.3344 | 77.41% | 77.41% | 22.59% | 22,936 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 71.4 | 40668.2614 | 66.24% | 66.24% | 33.76% | 40,668 MW
Low (F) | 63.3
Patchy rain nearby
Billings, MT
High (F) | 93.2
Low (F) | 57.7
Sunny
Loveland, CO
High (F) | 99.5
Low (F) | 59
Partly Cloudy
Los Angeles, CA
High (F) | 77
Low (F) | 64.4
Overcast
Phoenix, AZ
High (F) | 109
Low (F) | 87.1
Patchy rain nearby
Salt Lake City, UT
High (F) | 96.4
Low (F) | 55.4
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
74,313 MW
22,936 MW
40,668 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend