## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-08-19
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 97.2 |  | 84.4 |  | 69.6 | 107.2
Low: |  | 58.6 |  | 53.1 |  | 60.3 | 81.9
Conditions: |  | Sunny |  | Sunny |  | Overcast | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 77382.5723 | 18 | 13402.0605 |  | 5029.8672 | 21842.55
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 24434.1069 | 18 | 2679 |  | 1588.2169 | 8194.18
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 42339.2346 | 19 | 4607.76 |  | 3228.76 | 18729.01
Includes CFE, CISO & LDWP
WI TOTAL |  | 143484.5841 | 18 | 20736.9105 |  | 9296.3055 | 47695.74
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 80698 | 17 | 16460
SRSG |  | 22835 | 16 | 4974
CAMX* |  | 43043 | 18 | 5541
WI TOTAL |  | 146310 | 17 | 27473
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
08-18/08-19 | WACM | Path 30 |  | 4 | 3

## Map
95
Weather Information
Calgary, AB
High (F) | 84.4
Low (F) | 53.1
Sunny |  | 77382.5723 | 85.32% | 85.32% | 14.68% | 77,383 MW
|  | 24434.1069 | 82.46% | 82.46% | 17.54% | 24,434 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 83.7 | 42339.2346 | 68.96% | 68.96% | 31.04% | 42,339 MW
Low (F) | 61.2
Sunny
Billings, MT
High (F) | 103.6
Low (F) | 56.3
Sunny
Loveland, CO
High (F) | 95.4
Low (F) | 56.3
Sunny
Los Angeles, CA
High (F) | 79.3
Low (F) | 65.1
Partly Cloudy
Phoenix, AZ
High (F) | 111
Low (F) | 82.9
Sunny
Salt Lake City, UT
High (F) | 100.8
Low (F) | 53.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
77,383 MW
24,434 MW
42,339 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend