## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-08-20
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 104.5 |  | 75.9 |  | 69.4 | 97.5
Low: |  | 62.6 |  | 54.5 |  | 57.6 | 77.9
Conditions: |  | Sunny |  | Patchy rain nearby |  | Partly Cloudy | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 77918.6783 | 17 | 13616.7247 |  | 4857.7867 | 20935.59
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 25097.0475 | 17 | 2807 |  | 1631.3081 | 8441.54
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 47297.1943 | 19 | 4828 |  | 3464 | 17608.63
Includes CFE, CISO & LDWP
WI TOTAL |  | 149501.8963 | 18 | 21700.1019 |  | 9776.4439 | 45872.76
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 83261 | 16 | 15769
SRSG |  | 23128 | 17 | 4758
CAMX* |  | 45705 | 18 | 5919
WI TOTAL |  | 151128 | 17 | 26456
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
08-19/08-20 | WACM | Path 30 |  | 4 | 7

## Map
95
Weather Information
Calgary, AB
High (F) | 75.9
Low (F) | 54.5
Patchy rain nearby |  | 77918.6783 | 85.91% | 85.91% | 14.09% | 77,919 MW
|  | 25097.0475 | 84.7% | 84.7% | 15.3% | 25,097 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 81.1 | 47297.1943 | 77.03% | 77.03% | 22.97% | 47,297 MW
Low (F) | 58.2
Partly Cloudy
Billings, MT
High (F) | 101.8
Low (F) | 58.5
Sunny
Loveland, CO
High (F) | 97.7
Low (F) | 61.5
Sunny
Los Angeles, CA
High (F) | 79.3
Low (F) | 63.5
Partly Cloudy
Phoenix, AZ
High (F) | 114.4
Low (F) | 85.6
Sunny
Salt Lake City, UT
High (F) | 98.2
Low (F) | 58.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
77,919 MW
25,097 MW
47,297 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend