## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-09-04
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 100.2 |  | 65.3 |  | 77.9 | 95.9
Low: |  | 64.2 |  | 53.4 |  | 62.6 | 71.2
Conditions: |  | Sunny |  | Partly Cloudy |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 76518.2209 | 17 | 10890.2925 |  | 4793.7655 | 22666.08
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 20356.3747 | 17 | 2951 |  | 1263.17 | 7891.58
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 46811.1492 | 18 | 4937.44 |  | 3460.44 | 22131.36
Includes CFE, CISO & LDWP
WI TOTAL |  | 142967.1948 | 18 | 19214.4951 |  | 9453.2381 | 51857.02
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 79247 | 16 | 16035
SRSG |  | 24035 | 19 | 4114
CAMX* |  | 51084 | 17 | 6822
WI TOTAL |  | 152224 | 17 | 25881
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 65.3
Low (F) | 53.4
Partly Cloudy |  | 76518.2209 | 84.37% | 84.37% | 15.63% | 76,518 MW
|  | 20356.3747 | 68.7% | 68.7% | 31.3% | 20,356 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 95.4 | 46811.1492 | 76.24% | 76.24% | 23.76% | 46,811 MW
Low (F) | 62.6
Partly Cloudy
Billings, MT
High (F) | 78.8
Low (F) | 54.7
Partly Cloudy
Loveland, CO
High (F) | 93.4
Low (F) | 52.3
Sunny
Los Angeles, CA
High (F) | 80.4
Low (F) | 66.6
Partly Cloudy
Phoenix, AZ
High (F) | 99.5
Low (F) | 81.7
Thundery outbreaks in nearby
Salt Lake City, UT
High (F) | 84.6
Low (F) | 55.2
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
76,518 MW
20,356 MW
46,811 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend