## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-09-08
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 87.1 |  | 72.9 |  | 68.9 | 78.8
Low: |  | 57.9 |  | 58.3 |  | 61.3 | 57.7
Conditions: |  | Sunny |  | Thundery outbreaks in nearby |  | Mist | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 71134.9717 | 17 | 11263.0785 |  | 4596.6275 | 19446.91
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 22891.0949 | 17 | 2931 |  | 1487.9212 | 7999.4
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 43267.0467 | 19 | 4523.51 |  | 3179.51 | 20354.87
Includes CFE, CISO & LDWP
WI TOTAL |  | 136654.9966 | 18 | 18717.8244 |  | 9198.1834 | 46739.18
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 70378 | 17 | 18311
SRSG |  | 22349 | 17 | 3996
CAMX* |  | 42845 | 17 | 6169
WI TOTAL |  | 135572 | 17 | 28476
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 72.9
Low (F) | 58.3
Thundery outbreaks in nearby |  | 71134.9717 | 78.43% | 78.43% | 21.57% | 71,135 MW
|  | 22891.0949 | 77.26% | 77.26% | 22.74% | 22,891 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 72.7 | 43267.0467 | 70.47% | 70.47% | 29.53% | 43,267 MW
Low (F) | 60.1
Patchy rain nearby
Billings, MT
High (F) | 89.2
Low (F) | 54.9
Sunny
Loveland, CO
High (F) | 89.6
Low (F) | 53.1
Partly Cloudy
Los Angeles, CA
High (F) | 76.5
Low (F) | 66
Partly Cloudy
Phoenix, AZ
High (F) | 106.7
Low (F) | 81.1
Sunny
Salt Lake City, UT
High (F) | 89.6
Low (F) | 54.7
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
71,135 MW
22,891 MW
43,267 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend