## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-09-09
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 81 |  | 83.3 |  | 69.4 | 88.2
Low: |  | 62.2 |  | 54.7 |  | 60.3 | 59.4
Conditions: |  | Partly Cloudy |  | Sunny |  | Mist | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 69216.4002 | 17 | 10974.9177 |  | 4409.6157 | 20102.91
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 22745.0271 | 17 | 2579 |  | 1478.4268 | 8300.4
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 39480.7584 | 19 | 4707.93 |  | 3055.93 | 20354.87
Includes CFE, CISO & LDWP
WI TOTAL |  | 130950.7816 | 18 | 18188.851 |  | 8753.069 | 47546.18
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73110 | 17 | 15720
SRSG |  | 23119 | 17 | 3853
CAMX* |  | 44511 | 17 | 6752
WI TOTAL |  | 140740 | 17 | 26325
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-09-08 |  | Path 80 |  | 4 | 4

## Map
95
Weather Information
Calgary, AB
High (F) | 83.3
Low (F) | 54.7
Sunny |  | 69216.4002 | 76.32% | 76.32% | 23.68% | 69,216 MW
|  | 22745.0271 | 76.76% | 76.76% | 23.24% | 22,745 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 76.3 | 39480.7584 | 64.3% | 64.3% | 35.7% | 39,481 MW
Low (F) | 60.2
Overcast
Billings, MT
High (F) | 90.3
Low (F) | 50.5
Sunny
Loveland, CO
High (F) | 89.2
Low (F) | 55.8
Sunny
Los Angeles, CA
High (F) | 73.2
Low (F) | 65.5
Partly Cloudy
Phoenix, AZ
High (F) | 108.5
Low (F) | 81.7
Sunny
Salt Lake City, UT
High (F) | 85.6
Low (F) | 58.8
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
69,216 MW
22,745 MW
39,481 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend