## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-09-11
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 85.6 |  | 81.9 |  | 66.2 | 94.8
Low: |  | 61 |  | 54 |  | 58.6 | 74.8
Conditions: |  | Partly Cloudy |  | Sunny |  | Mist | Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 67816.5117 | 17 | 11645.3052 |  | 4366.6142 | 21946.39
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21323.0653 | 17 | 2680 |  | 1385.9992 | 9035.07
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 37489.4965 | 19 | 4173.31 |  | 2965.31 | 21964
Includes CFE, CISO & LDWP
WI TOTAL |  | 125737.099 | 18 | 19378.7867 |  | 8537.3657 | 51717.46
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 61587 | 16 | 13040
SRSG |  | 19889 | 17 | 4127
CAMX* |  | 38924 | 17 | 5946
WI TOTAL |  | 120267 | 17 | 22592
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
09-10/09-11 | WACM | Path 30 |  | 4 | 3

## Map
95
Weather Information
Calgary, AB
High (F) | 81.9
Low (F) | 54
Sunny |  | 67816.5117 | 74.77% | 74.77% | 25.23% | 67,817 MW
|  | 21323.0653 | 71.96% | 71.96% | 28.04% | 21,323 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 67.3 | 37489.4965 | 61.06% | 61.06% | 38.94% | 37,489 MW
Low (F) | 58.6
Overcast
Billings, MT
High (F) | 86
Low (F) | 52.5
Patchy rain nearby
Loveland, CO
High (F) | 87.4
Low (F) | 58.6
Overcast
Los Angeles, CA
High (F) | 73.4
Low (F) | 65.1
Partly Cloudy
Phoenix, AZ
High (F) | 103.8
Low (F) | 79.2
Sunny
Salt Lake City, UT
High (F) | 85.3
Low (F) | 54.1
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
67,817 MW
21,323 MW
37,489 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend