## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-09-12
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 92.1 |  | 81.1 |  | 66.4 | 98.1
Low: |  | 61 |  | 55.4 |  | 58.5 | 74.1
Conditions: |  | Sunny |  | Sunny |  | Overcast | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 66458.6256 | 17 | 10284.503 |  | 4336.231 | 21257.59
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 20495.3791 | 17 | 2622 |  | 1231.68 | 8164.65
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 38348.8939 | 19 | 4704.46 |  | 3045.46 | 23466.74
Includes CFE, CISO & LDWP
WI TOTAL |  | 124544.4666 | 18 | 18479.7888 |  | 8510.7868 | 51810.98
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 60469 | 16 | 14453
SRSG |  | 19355 | 16 | 4405
CAMX* |  | 38249 | 17 | 5629
WI TOTAL |  | 117897 | 17 | 23667
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 81.1
Low (F) | 55.4
Sunny |  | 66458.6256 | 73.28% | 73.28% | 26.72% | 66,459 MW
|  | 20495.3791 | 69.17% | 69.17% | 30.83% | 20,495 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 71.1 | 38348.8939 | 62.46% | 62.46% | 37.54% | 38,349 MW
Low (F) | 56.5
Overcast
Billings, MT
High (F) | 84.2
Low (F) | 48.6
Partly Cloudy
Loveland, CO
High (F) | 83.3
Low (F) | 57.7
Overcast
Los Angeles, CA
High (F) | 74.1
Low (F) | 64.2
Partly Cloudy
Phoenix, AZ
High (F) | 104.4
Low (F) | 78.8
Sunny
Salt Lake City, UT
High (F) | 82.8
Low (F) | 52.7
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
66,459 MW
20,495 MW
38,349 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend