## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-09-29
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 78.4 |  | 78.3 |  | 63 | 89.8
Low: |  | 62.1 |  | 42.1 |  | 54.6 | 61.5
Conditions: |  | Overcast |  | Sunny |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 63828.1592 | 18 | 10542.3139 |  | 4241.1119 | 24052.23
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 17966.4997 | 18 | 2723 |  | 1084.47 | 7436.37
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 36902.6793 | 19 | 4603.11 |  | 2929.11 | 18748.14
Includes CFE, CISO & LDWP
WI TOTAL |  | 118494.7031 | 18 | 17845.1639 |  | 8271.4319 | 49455.74
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 54840 | 17 | 13690
SRSG |  | 14773 | 17 | 3466
CAMX* |  | 34365 | 19 | 5343
WI TOTAL |  | 103534 | 18 | 20622
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 78.3
Low (F) | 42.1
Sunny |  | 63828.1592 | 70.38% | 70.38% | 29.62% | 63,828 MW
|  | 17966.4997 | 60.64% | 60.64% | 39.36% | 17,966 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 63.9 | 36902.6793 | 60.1% | 60.1% | 39.9% | 36,903 MW
Low (F) | 53.1
Partly Cloudy
Billings, MT
High (F) | 88.2
Low (F) | 53.8
Sunny
Loveland, CO
High (F) | 77.7
Low (F) | 52.2
Sunny
Los Angeles, CA
High (F) | 77
Low (F) | 59.7
Sunny
Phoenix, AZ
High (F) | 98.1
Low (F) | 70.3
Sunny
Salt Lake City, UT
High (F) | 85.3
Low (F) | 58.6
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
63,828 MW
17,966 MW
36,903 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend