## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-09-30
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 81.5 |  | 72.1 |  | 64 | 90.7
Low: |  | 60.4 |  | 53.2 |  | 53.8 | 63.5
Conditions: |  | Cloudy |  | Sunny |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 62284.2662 | 18 | 10693.8854 |  | 4159.4824 | 23685.15
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 18666.1042 | 17 | 2756 |  | 1123.9 | 7586.55
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 36165.0427 | 19 | 4352.9 |  | 2896.9 | 18284.3
Includes CFE, CISO & LDWP
WI TOTAL |  | 116550.27 | 18 | 17786.9654 |  | 8177.7124 | 48612
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 56896 | 17 | 13221
SRSG |  | 15807 | 17 | 3292
CAMX* |  | 37571 | 16 | 6397
WI TOTAL |  | 110262 | 17 | 22502
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 72.1
Low (F) | 53.2
Sunny |  | 62284.2662 | 68.67% | 68.67% | 31.33% | 62,284 MW
|  | 18666.1042 | 63% | 63% | 37% | 18,666 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 70.5 | 36165.0427 | 58.9% | 58.9% | 41.1% | 36,165 MW
Low (F) | 51.4
Patchy rain nearby
Billings, MT
High (F) | 86.5
Low (F) | 55.8
Sunny
Loveland, CO
High (F) | 82.8
Low (F) | 47.3
Sunny
Los Angeles, CA
High (F) | 75.9
Low (F) | 62.1
Partly Cloudy
Phoenix, AZ
High (F) | 100
Low (F) | 70.7
Sunny
Salt Lake City, UT
High (F) | 72
Low (F) | 57
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
62,284 MW
18,666 MW
36,165 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend