## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-10-02
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 77.4 |  | 68 |  | 64.6 | 91.2
Low: |  | 58.2 |  | 45.1 |  | 53.8 | 65.1
Conditions: |  | Partly Cloudy |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 61596.635 | 18 | 10463.4056 |  | 4105.8046 | 24353.79
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 19931.3873 | 17 | 2429 |  | 1295.5402 | 9431.14
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 35525.739 | 19 | 4613.66 |  | 2835.66 | 19160.48
Includes CFE, CISO & LDWP
WI TOTAL |  | 116422.579 | 18 | 17034.6556 |  | 8060.1846 | 52195.41
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 55358 | 17 | 12518
SRSG |  | 16478 | 17 | 3306
CAMX* |  | 37335 | 17 | 5675
WI TOTAL |  | 109171 | 17 | 21499
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 68
Low (F) | 45.1
Sunny |  | 61596.635 | 67.92% | 67.92% | 32.08% | 61,597 MW
|  | 19931.3873 | 67.27% | 67.27% | 32.73% | 19,931 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 70 | 35525.739 | 57.86% | 57.86% | 42.14% | 35,526 MW
Low (F) | 52.2
Sunny
Billings, MT
High (F) | 82.4
Low (F) | 51.6
Sunny
Loveland, CO
High (F) | 85.3
Low (F) | 48.6
Sunny
Los Angeles, CA
High (F) | 76.1
Low (F) | 60.3
Partly Cloudy
Phoenix, AZ
High (F) | 105.8
Low (F) | 70
Sunny
Salt Lake City, UT
High (F) | 88.9
Low (F) | 58.1
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
61,597 MW
19,931 MW
35,526 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend