## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-10-03
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 73.6 |  | 69.6 |  | 62.2 | 91.8
Low: |  | 58.1 |  | 45.7 |  | 49.3 | 62.6
Conditions: |  | Partly Cloudy |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60260.863 | 18 | 11226.9526 |  | 4052.4256 | 23608.4
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 19091.8302 | 17 | 2525 |  | 1240.969 | 10481.79
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33312.4947 | 19 | 4389.79 |  | 2756.79 | 17536.15
Includes CFE, CISO & LDWP
WI TOTAL |  | 111553.9293 | 18 | 17636.9626 |  | 7886.9856 | 50803.34
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 55355 | 17 | 11898
SRSG |  | 17310 | 16 | 4175
CAMX* |  | 36663 | 18 | 5539
WI TOTAL |  | 108939 | 17 | 21907
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-10-02 |  | Path 80 |  | 4 | 1

## Map
95
Weather Information
Calgary, AB
High (F) | 69.6
Low (F) | 45.7
Sunny |  | 60260.863 | 66.44% | 66.44% | 33.56% | 60,261 MW
|  | 19091.8302 | 64.43% | 64.43% | 35.57% | 19,092 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 70.3 | 33312.4947 | 54.26% | 54.26% | 45.74% | 33,312 MW
Low (F) | 50
Sunny
Billings, MT
High (F) | 81.3
Low (F) | 47.8
Sunny
Loveland, CO
High (F) | 88.7
Low (F) | 48.9
Sunny
Los Angeles, CA
High (F) | 75.7
Low (F) | 64
Partly Cloudy
Phoenix, AZ
High (F) | 105.6
Low (F) | 73.2
Sunny
Salt Lake City, UT
High (F) | 85.3
Low (F) | 58.3
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,261 MW
19,092 MW
33,312 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend