## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-10-06
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 92.8 |  | 57.4 |  | 66.9 | 76.6
Low: |  | 58.5 |  | 36 |  | 47.7 | 68
Conditions: |  | Sunny |  | Sunny |  | Sunny | Mist
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60342.697 | 19 | 10216.3985 |  | 4117.1745 | 23058.76
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 16958.6538 | 17 | 2341 |  | 1102.3125 | 12890.57
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 35735.5655 | 19 | 5149.14 |  | 2887.14 | 18760.39
Includes CFE, CISO & LDWP
WI TOTAL |  | 112533.3683 | 19 | 16796.5385 |  | 7975.2145 | 53775.72
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 52491 | 19 | 11827
SRSG |  | 14341 | 17 | 3175
CAMX* |  | 33479 | 19 | 4595
WI TOTAL |  | 99486 | 18 | 18983
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
|  | Path |  | 4

## Map
95
Weather Information
Calgary, AB
High (F) | 57.4
Low (F) | 36
Sunny |  | 60342.697 | 66.53% | 66.53% | 33.47% | 60,343 MW
|  | 16958.6538 | 57.23% | 57.23% | 42.77% | 16,959 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 79.3 | 35735.5655 | 58.2% | 58.2% | 41.8% | 35,736 MW
Low (F) | 49.1
Sunny
Billings, MT
High (F) | 60.3
Low (F) | 35.8
Sunny
Loveland, CO
High (F) | 54.3
Low (F) | 44.1
Patchy rain nearby
Los Angeles, CA
High (F) | 73.4
Low (F) | 55.6
Sunny
Phoenix, AZ
High (F) | 98.6
Low (F) | 61.3
Sunny
Salt Lake City, UT
High (F) | 61
Low (F) | 37.9
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,343 MW
16,959 MW
35,736 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend