## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-10-09
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 81.9 |  | 59.7 |  | 69.1 | 77.9
Low: |  | 57.9 |  | 33.6 |  | 49.3 | 57.7
Conditions: |  | Sunny |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60830.1512 | 18 | 10687.9223 |  | 4120.7483 | 25257.39
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 18601.0921 | 17 | 2343 |  | 1209.071 | 13638.66
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 34903.0629 | 19 | 4233.95 |  | 2862.95 | 21511.11
Includes CFE, CISO & LDWP
WI TOTAL |  | 113595.8066 | 19 | 16468.8567 |  | 7915.4927 | 59478.16
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 54717 | 18 | 11105
SRSG |  | 16070 | 16 | 3846
CAMX* |  | 36209 | 10 | 5894
WI TOTAL |  | 105265 | 18 | 18974
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-10-08 |  | Path 80 |  | 4 | 1
2025-10-08 | WACM | Path 31 |  | 4 | 5

## Map
95
Weather Information
Calgary, AB
High (F) | 59.7
Low (F) | 33.6
Sunny |  | 60830.1512 | 67.07% | 67.07% | 32.93% | 60,830 MW
|  | 18601.0921 | 62.78% | 62.78% | 37.22% | 18,601 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 66.9 | 34903.0629 | 56.85% | 56.85% | 43.15% | 34,903 MW
Low (F) | 49.1
Sunny
Billings, MT
High (F) | 69.8
Low (F) | 44.4
Sunny
Loveland, CO
High (F) | 87.1
Low (F) | 45.5
Sunny
Los Angeles, CA
High (F) | 77.5
Low (F) | 54.3
Sunny
Phoenix, AZ
High (F) | 100.4
Low (F) | 78.6
Sunny
Salt Lake City, UT
High (F) | 87.4
Low (F) | 56.5
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,830 MW
18,601 MW
34,903 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend