## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-10-13
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 66.9 |  | 37.8 |  | 62.2 | 89.6
Low: |  | 52.5 |  | 23.4 |  | 45.5 | 56.7
Conditions: |  | Moderate rain |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 61673.8745 | 19 | 10831.2151 |  | 4128.5831 | 22818.79
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14811.8029 | 17 | 2604 |  | 912.77 | 13266.2
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32297.8298 | 20 | 4192.9 |  | 2384.9 | 19682.42
Includes CFE, CISO & LDWP
WI TOTAL |  | 108162.1026 | 19 | 17165.9151 |  | 7753.5631 | 54962.41
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 54025 | 18 | 11696
SRSG |  | 13060 | 17 | 3405
CAMX* |  | 31256 | 18 | 5212
WI TOTAL |  | 98340 | 18 | 19736
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 37.8
Low (F) | 23.4
Sunny |  | 61673.8745 | 68% | 68% | 32% | 61,674 MW
|  | 14811.8029 | 49.99% | 49.99% | 50.01% | 14,812 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 62.6 | 32297.8298 | 52.6% | 52.6% | 47.4% | 32,298 MW
Low (F) | 40.5
Sunny
Billings, MT
High (F) | 39
Low (F) | 32.9
Overcast
Loveland, CO
High (F) | 58.1
Low (F) | 36.5
Patchy rain nearby
Los Angeles, CA
High (F) | 70.2
Low (F) | 57.9
Patchy rain nearby
Phoenix, AZ
High (F) | 82.6
Low (F) | 70
Sunny
Salt Lake City, UT
High (F) | 76.1
Low (F) | 46.6
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
61,674 MW
14,812 MW
32,298 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend