## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-10-15
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 62.2 |  | 62.4 |  | 60.6 | 87.4
Low: |  | 51.6 |  | 25.5 |  | 43.3 | 57.9
Conditions: |  | Patchy rain nearby |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60434.2604 | 8 | 10789.9602 |  | 4194.5042 | 25479.33
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14567.9234 | 18 | 2421 |  | 875.74 | 14453.4
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31100.6649 | 20 | 3942.84 |  | 2584.84 | 24563.1
Includes CFE, CISO & LDWP
WI TOTAL |  | 104580.2355 | 19 | 17136.2328 |  | 7556.5738 | 63445.83
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 56822 | 8 | 11171
SRSG |  | 12914 | 17 | 3314
CAMX* |  | 33911 | 14 | 6068
WI TOTAL |  | 99686 | 18 | 17574
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 62.4
Low (F) | 25.5
Sunny |  | 60434.2604 | 66.63% | 66.63% | 33.37% | 60,434 MW
|  | 14567.9234 | 49.17% | 49.17% | 50.83% | 14,568 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 67.5 | 31100.6649 | 50.65% | 50.65% | 49.35% | 31,101 MW
Low (F) | 42.4
Sunny
Billings, MT
High (F) | 45
Low (F) | 38.3
Patchy rain nearby
Loveland, CO
High (F) | 70.7
Low (F) | 48.4
Partly Cloudy
Los Angeles, CA
High (F) | 69.3
Low (F) | 52.3
Moderate rain
Phoenix, AZ
High (F) | 83.5
Low (F) | 62.6
Sunny
Salt Lake City, UT
High (F) | 58.5
Low (F) | 41.4
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,434 MW
14,568 MW
31,101 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend