## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-10-16
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 71.6 |  | 68.4 |  | 57 | 90
Low: |  | 47.3 |  | 37 |  | 39.4 | 55.9
Conditions: |  | Sunny |  | Sunny |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60556.4478 | 8 | 11126.4534 |  | 4214.7354 | 25116.21
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14394.3166 | 18 | 2474 |  | 875.44 | 14108.38
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30717.0656 | 20 | 3753.89 |  | 2580.89 | 23654.57
Includes CFE, CISO & LDWP
WI TOTAL |  | 104426.2554 | 19 | 16659.4539 |  | 7584.4329 | 62287.16
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 57192 | 7 | 10267
SRSG |  | 12431 | 17 | 3850
CAMX* |  | 31951 | 11 | 5709
WI TOTAL |  | 104208 | 18 | 18033
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 68.4
Low (F) | 37
Sunny |  | 60556.4478 | 66.77% | 66.77% | 33.23% | 60,556 MW
|  | 14394.3166 | 48.58% | 48.58% | 51.42% | 14,394 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 65.1 | 30717.0656 | 50.03% | 50.03% | 49.97% | 30,717 MW
Low (F) | 43
Sunny
Billings, MT
High (F) | 52.7
Low (F) | 41.7
Patchy rain nearby
Loveland, CO
High (F) | 70.5
Low (F) | 43.9
Sunny
Los Angeles, CA
High (F) | 76.5
Low (F) | 51.8
Sunny
Phoenix, AZ
High (F) | 86
Low (F) | 58.1
Sunny
Salt Lake City, UT
High (F) | 54
Low (F) | 39.6
Heavy rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,556 MW
14,394 MW
30,717 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend