## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-10-24
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 78.3 |  | 66.2 |  | 52.7 | 77.5
Low: |  | 52.2 |  | 43.5 |  | 47.5 | 52.3
Conditions: |  | Sunny |  | Sunny |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 59932.3762 | 19 | 10703.9327 |  | 3895.6045 | 23826.67
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14241.6417 | 18 | 2428 |  | 925.7067 | 13202.17
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31990.7814 | 19 | 4017.52 |  | 2710.52 | 23432.06
Includes CFE, CISO & LDWP
WI TOTAL |  | 105875.5352 | 19 | 16136.4527 |  | 6923.7727 | 59961.9
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 55316 | 7 | 11942
SRSG |  | 13161 | 18 | 2864
CAMX* |  | 33459 | 9 | 5326
WI TOTAL |  | 98340 | 18 | 17854
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 66.2
Low (F) | 43.5
Sunny |  | 59932.3762 | 66.08% | 66.08% | 33.92% | 59,932 MW
|  | 14241.6417 | 48.06% | 48.06% | 51.94% | 14,242 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 63.3 | 31990.7814 | 52.1% | 52.1% | 47.9% | 31,991 MW
Low (F) | 48.9
Heavy rain
Billings, MT
High (F) | 73.2
Low (F) | 38.3
Sunny
Loveland, CO
High (F) | 64.8
Low (F) | 45.3
Partly Cloudy
Los Angeles, CA
High (F) | 75.9
Low (F) | 58.8
Cloudy
Phoenix, AZ
High (F) | 90
Low (F) | 59
Sunny
Salt Lake City, UT
High (F) | 68.4
Low (F) | 40.5
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
59,932 MW
14,242 MW
31,991 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend