## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-10-28
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 79 |  | 50 |  | 52.9 | 58.5
Low: |  | 46.9 |  | 30.6 |  | 41.5 | 55
Conditions: |  | Sunny |  | Sunny |  | Patchy rain nearby | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 55831.4984 | 8 | 9617.7454 |  | 3629.0474 | 23362.8
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15442.6681 | 18 | 2335 |  | 937.61 | 13600.25
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 34852.4067 | 19 | 3697.03 |  | 2819.03 | 22309.18
Includes CFE, CISO & LDWP
WI TOTAL |  | 105351.4229 | 19 | 16016.2054 |  | 6826.3774 | 58624.23
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 58892 | 18 | 10977
SRSG |  | 13621 | 17 | 3132
CAMX* |  | 34767 | 9 | 5063
WI TOTAL |  | 98340 | 18 | 18643
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 50
Low (F) | 30.6
Sunny |  | 55831.4984 | 61.56% | 61.56% | 38.44% | 55,831 MW
|  | 15442.6681 | 52.12% | 52.12% | 47.88% | 15,443 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 59.4 | 34852.4067 | 56.76% | 56.76% | 43.24% | 34,852 MW
Low (F) | 40.8
Patchy rain nearby
Billings, MT
High (F) | 53.6
Low (F) | 25.7
Sunny
Loveland, CO
High (F) | 54.9
Low (F) | 28.2
Sunny
Los Angeles, CA
High (F) | 94.1
Low (F) | 54.7
Sunny
Phoenix, AZ
High (F) | 97.7
Low (F) | 61.7
Sunny
Salt Lake City, UT
High (F) | 55
Low (F) | 30.7
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
55,831 MW
15,443 MW
34,852 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend