## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-10-29
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 86.5 |  | 52.5 |  | 57.7 | 57.2
Low: |  | 53.4 |  | 36 |  | 46 | 47.5
Conditions: |  | Sunny |  | Sunny |  | Patchy rain nearby | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 54196.2413 | 19 | 7232.0394 |  | 3522.7557 | 25063.3
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14996.8852 | 18 | 2387 |  | 906.03 | 13556.37
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 36118.4069 | 19 | 3864.17 |  | 2891.17 | 24800.49
Includes CFE, CISO & LDWP
WI TOTAL |  | 104993.3926 | 19 | 12509.2094 |  | 6861.5424 | 62643.16
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 58244 | 7 | 10541
SRSG |  | 13625 | 16 | 3792
CAMX* |  | 34680 | 17 | 5266
WI TOTAL |  | 98340 | 18 | 18239
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
|  | Path |  | 4

## Map
95
Weather Information
Calgary, AB
High (F) | 52.5
Low (F) | 36
Sunny |  | 54196.2413 | 59.76% | 59.76% | 40.24% | 54,196 MW
|  | 14996.8852 | 50.61% | 50.61% | 49.39% | 14,997 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 59.9 | 36118.4069 | 58.83% | 58.83% | 41.17% | 36,118 MW
Low (F) | 43.4
Patchy rain nearby
Billings, MT
High (F) | 68.5
Low (F) | 28.6
Sunny
Loveland, CO
High (F) | 62.2
Low (F) | 21.6
Sunny
Los Angeles, CA
High (F) | 94.3
Low (F) | 55.6
Sunny
Phoenix, AZ
High (F) | 96.4
Low (F) | 63.1
Sunny
Salt Lake City, UT
High (F) | 65.8
Low (F) | 33.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
54,196 MW
14,997 MW
36,118 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend