## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-11-04
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 77.4 |  | 48.9 |  | 58.1 | 70.7
Low: |  | 52 |  | 27.7 |  | 39.2 | 43.7
Conditions: |  | Sunny |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 55062.5949 | 17 | 4637.834 |  | 3579.0687 | 22272.03
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15090.1957 | 17 | 1766 |  | 980.8627 | 14598.82
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32813.0894 | 18 | 4249.16 |  | 2746.16 | 26413.02
Includes CFE, CISO & LDWP
WI TOTAL |  | 101460.6681 | 17 | 10728.774 |  | 6756.664 | 62834.87
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 60048 | 18 | 10517
SRSG |  | 11285 | 17 | 2851
CAMX* |  | 31311 | 18 | 17401
WI TOTAL |  | 98340 | 17 | 32153
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 48.9
Low (F) | 27.7
Sunny |  | 55062.5949 | 57.72% | 57.72% | 42.28% | 55,063 MW
|  | 15090.1957 | 60.85% | 60.85% | 39.15% | 15,090 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 58.5 | 32813.0894 | 62.39% | 62.39% | 37.61% | 32,813 MW
Low (F) | 46.8
Moderate rain
Billings, MT
High (F) | 65.5
Low (F) | 36.3
Sunny
Loveland, CO
High (F) | 68.9
Low (F) | 34.7
Sunny
Los Angeles, CA
High (F) | 69.3
Low (F) | 56.7
Partly Cloudy
Phoenix, AZ
High (F) | 95
Low (F) | 57.9
Sunny
Salt Lake City, UT
High (F) | 73.6
Low (F) | 46.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
55,063 MW
15,090 MW
32,813 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend