## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-11-06
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 72 |  | 55.4 |  | 51.4 | 73.9
Low: |  | 55.2 |  | 33.3 |  | 46.9 | 51.1
Conditions: |  | Partly Cloudy |  | Sunny |  | Heavy rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 55978.7803 | 18 | 9184.4888 |  | 3638.6207 | 23181.24
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14617.6317 | 17 | 2427 |  | 950.1461 | 13434.65
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32670.5961 | 18 | 3994.79 |  | 2483.79 | 27171.74
Includes CFE, CISO & LDWP
WI TOTAL |  | 103176.5627 | 18 | 15665.2788 |  | 6521.0998 | 63339.63
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 58900 | 18 | 13369
SRSG |  | 15453 | 16 | 3213
CAMX* |  | 33713 | 13 | 5680
WI TOTAL |  | 98340 | 16 | 23010
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
11-05/11-06 | WACM | Path 31 |  | 4 | 7

## Map
95
Weather Information
Calgary, AB
High (F) | 55.4
Low (F) | 33.3
Sunny |  | 55978.7803 | 58.68% | 58.68% | 41.32% | 55,979 MW
|  | 14617.6317 | 58.95% | 58.95% | 41.05% | 14,618 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 60.4 | 32670.5961 | 62.11% | 62.11% | 37.89% | 32,671 MW
Low (F) | 48.7
Moderate rain
Billings, MT
High (F) | 61.3
Low (F) | 37
Sunny
Loveland, CO
High (F) | 68
Low (F) | 35.6
Sunny
Los Angeles, CA
High (F) | 69.6
Low (F) | 52.3
Sunny
Phoenix, AZ
High (F) | 90.9
Low (F) | 55.4
Sunny
Salt Lake City, UT
High (F) | 57.9
Low (F) | 37.4
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
55,979 MW
14,618 MW
32,671 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend