## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-11-07
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 76.3 |  | 49.8 |  | 53.4 | 73.9
Low: |  | 52.7 |  | 30.6 |  | 45 | 57
Conditions: |  | Sunny |  | Patchy rain nearby |  | Patchy rain nearby | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 55863.8873 | 18 | 8704.4131 |  | 3631.1527 | 22065.81
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14309.6102 | 17 | 2319 |  | 930.1247 | 13236.39
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33002.5768 | 18 | 4034.45 |  | 2718.45 | 26800.99
Includes CFE, CISO & LDWP
WI TOTAL |  | 103006.719 | 18 | 15091.8631 |  | 6693.5611 | 61623.19
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 58535 | 18 | 12891
SRSG |  | 14229 | 14 | 4397
CAMX* |  | 34503 | 10 | 5992
WI TOTAL |  | 98340 | 18 | 20690
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-11-06 | WACM | Path 36 |  | 4 | 3
11-06/11-07 | WACM | Path 31 |  | 4 | 7

## Map
95
Weather Information
Calgary, AB
High (F) | 49.8
Low (F) | 30.6
Patchy rain nearby |  | 55863.8873 | 58.56% | 58.56% | 41.44% | 55,864 MW
|  | 14309.6102 | 57.71% | 57.71% | 42.29% | 14,310 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 59 | 33002.5768 | 62.75% | 62.75% | 37.25% | 33,003 MW
Low (F) | 44.7
Sunny
Billings, MT
High (F) | 56.8
Low (F) | 32.3
Sunny
Loveland, CO
High (F) | 57.9
Low (F) | 29.7
Sunny
Los Angeles, CA
High (F) | 77.7
Low (F) | 58.3
Partly Cloudy
Phoenix, AZ
High (F) | 90.9
Low (F) | 56.5
Sunny
Salt Lake City, UT
High (F) | 61.7
Low (F) | 42.1
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
55,864 MW
14,310 MW
33,003 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend