## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-11-12
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 75.2 |  | 51.6 |  | 54.9 | 77
Low: |  | 55.2 |  | 31.5 |  | 43 | 41.2
Conditions: |  | Partly Cloudy |  | Sunny |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 55224.8394 | 18 | 7180.9564 |  | 3589.6146 | 22206.87
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14370.5108 | 17 | 2400 |  | 934.0832 | 12059.6
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33914.6636 | 18 | 4600.37 |  | 2717.37 | 26097.42
Includes CFE, CISO & LDWP
WI TOTAL |  | 103493.1242 | 18 | 14080.3264 |  | 6770.4017 | 59948.89
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 66380 | 18 | 15937
SRSG |  | 14794 | 17 | 3543
CAMX* |  | 33654 | 11 | 5949
WI TOTAL |  | 98340 | 18 | 24879
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-11-11 | WACM | Path 30 |  | 4 | 2

## Map
95
Weather Information
Calgary, AB
High (F) | 51.6
Low (F) | 31.5
Sunny |  | 55224.8394 | 57.89% | 57.89% | 42.11% | 55,225 MW
|  | 14370.5108 | 57.95% | 57.95% | 42.05% | 14,371 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 63.3 | 33914.6636 | 64.48% | 64.48% | 35.52% | 33,915 MW
Low (F) | 46.4
Sunny
Billings, MT
High (F) | 67.5
Low (F) | 38.8
Sunny
Loveland, CO
High (F) | 65.8
Low (F) | 37.6
Sunny
Los Angeles, CA
High (F) | 66.7
Low (F) | 60.4
Patchy rain nearby
Phoenix, AZ
High (F) | 91.9
Low (F) | 59.4
Sunny
Salt Lake City, UT
High (F) | 70.5
Low (F) | 41.4
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
55,225 MW
14,371 MW
33,915 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend