## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-11-17
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 55.6 |  | 57 |  | 50.9 | 62.2
Low: |  | 49.2 |  | 36.3 |  | 44.4 | 50.7
Conditions: |  | Heavy rain |  | Patchy rain nearby |  | Patchy rain nearby | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 57641.956 | 18 | 8040.6725 |  | 3746.7271 | 21535.73
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13466.7176 | 18 | 2180 |  | 875.3366 | 12439.1
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32195.5947 | 18 | 3856.23 |  | 2734.23 | 24580.76
Includes CFE, CISO & LDWP
WI TOTAL |  | 103304.2683 | 18 | 14076.9025 |  | 6860.5955 | 58073.59
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 56449 | 18 | 13778
SRSG |  | 11768 | 18 | 3120
CAMX* |  | 29956 | 13 | 5254
WI TOTAL |  | 98340 | 18 | 21714
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 57
Low (F) | 36.3
Patchy rain nearby |  | 57641.956 | 60.43% | 60.43% | 39.57% | 57,642 MW
|  | 13466.7176 | 54.31% | 54.31% | 45.69% | 13,467 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 53.2 | 32195.5947 | 61.21% | 61.21% | 38.79% | 32,196 MW
Low (F) | 42.5
Moderate rain
Billings, MT
High (F) | 65.8
Low (F) | 37.8
Sunny
Loveland, CO
High (F) | 61.3
Low (F) | 37
Partly Cloudy
Los Angeles, CA
High (F) | 63.1
Low (F) | 52.2
Heavy rain
Phoenix, AZ
High (F) | 78.3
Low (F) | 52.9
Sunny
Salt Lake City, UT
High (F) | 56.7
Low (F) | 37
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
57,642 MW
13,467 MW
32,196 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend