## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-11-18
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 59.2 |  | 38.3 |  | 48 | 86.4
Low: |  | 46 |  | 26.4 |  | 40.8 | 60.3
Conditions: |  | Sunny |  | Freezing fog |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 57445.2422 | 18 | 8010.3395 |  | 3733.9407 | 21634.04
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13335.9621 | 18 | 2239 |  | 803.95 | 12691.44
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32259.9536 | 18 | 4148.2 |  | 2665.2 | 26419.61
Includes CFE, CISO & LDWP
WI TOTAL |  | 103041.1579 | 18 | 14397.5395 |  | 6634.1775 | 60224.09
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68335 | 18 | 16649
SRSG |  | 13688 | 18 | 3823
CAMX* |  | 32112 | 18 | 5331
WI TOTAL |  | 98340 | 18 | 25803
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 38.3
Low (F) | 26.4
Freezing fog |  | 57445.2422 | 60.22% | 60.22% | 39.78% | 57,445 MW
|  | 13335.9621 | 53.78% | 53.78% | 46.22% | 13,336 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 52 | 32259.9536 | 61.33% | 61.33% | 38.67% | 32,260 MW
Low (F) | 38.5
Partly Cloudy
Billings, MT
High (F) | 62.4
Low (F) | 40.6
Patchy rain nearby
Loveland, CO
High (F) | 58.3
Low (F) | 33.6
Sunny
Los Angeles, CA
High (F) | 64.8
Low (F) | 52.2
Patchy rain nearby
Phoenix, AZ
High (F) | 72.3
Low (F) | 59.2
Patchy rain nearby
Salt Lake City, UT
High (F) | 62.8
Low (F) | 36.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
57,445 MW
13,336 MW
32,260 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend