## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-11-19
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 57.4 |  | 44.1 |  | 57 | 79.2
Low: |  | 48.8 |  | 23.1 |  | 36.9 | 61.5
Conditions: |  | Partly Cloudy |  | Sunny |  | Sunny | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 57119.1686 | 18 | 7903.1049 |  | 3712.746 | 21401.55
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13200.2996 | 18 | 2108 |  | 806.56 | 11991.12
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31673.0882 | 18 | 3909.76 |  | 2732.76 | 25956.09
Includes CFE, CISO & LDWP
WI TOTAL |  | 101992.5564 | 18 | 13920.8649 |  | 6696.1229 | 59075.76
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68722 | 18 | 15372
SRSG |  | 13316 | 18 | 3882
CAMX* |  | 31707 | 18 | 5481
WI TOTAL |  | 98340 | 18 | 24735
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 44.1
Low (F) | 23.1
Sunny |  | 57119.1686 | 59.88% | 59.88% | 40.12% | 57,119 MW
|  | 13200.2996 | 53.23% | 53.23% | 46.77% | 13,200 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 56.7 | 31673.0882 | 60.22% | 60.22% | 39.78% | 31,673 MW
Low (F) | 37.2
Sunny
Billings, MT
High (F) | 50.5
Low (F) | 32.6
Patchy rain nearby
Loveland, CO
High (F) | 62.6
Low (F) | 36.7
Sunny
Los Angeles, CA
High (F) | 66.7
Low (F) | 47.5
Sunny
Phoenix, AZ
High (F) | 69.3
Low (F) | 54.3
Heavy rain
Salt Lake City, UT
High (F) | 59.7
Low (F) | 35.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
57,119 MW
13,200 MW
31,673 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend