## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-11-25
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 52.2 |  | 32 |  | 43 | 65.1
Low: |  | 46.6 |  | 17.2 |  | 39.4 | 55.4
Conditions: |  | Fog |  | Sunny |  | Patchy rain nearby | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 67186.9863 | 18 | 11083.6445 |  | 4367.1541 | 17299.95
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12871.7217 | 18 | 2572 |  | 781.74 | 13160.51
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31598.5385 | 18 | 4024.19 |  | 2628.19 | 21043.2
Includes CFE, CISO & LDWP
WI TOTAL |  | 111657.2466 | 18 | 17679.8345 |  | 7174.2145 | 51273.66
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71339 | 18 | 16049
SRSG |  | 13270 | 18 | 4109
CAMX* |  | 31755 | 18 | 4792
WI TOTAL |  | 98340 | 18 | 24950
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-11-24 | WACM | Path 36 |  | 4 | 3

## Map
95
Weather Information
Calgary, AB
High (F) | 32
Low (F) | 17.2
Sunny |  | 67186.9863 | 70.43% | 70.43% | 29.57% | 67,187 MW
|  | 12871.7217 | 51.91% | 51.91% | 48.09% | 12,872 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 49.3 | 31598.5385 | 60.08% | 60.08% | 39.92% | 31,599 MW
Low (F) | 39.2
Heavy rain
Billings, MT
High (F) | 42.1
Low (F) | 28.8
Partly Cloudy
Loveland, CO
High (F) | 51.8
Low (F) | 23.4
Sunny
Los Angeles, CA
High (F) | 79.9
Low (F) | 52.7
Cloudy
Phoenix, AZ
High (F) | 79.9
Low (F) | 48.9
Sunny
Salt Lake City, UT
High (F) | 51.1
Low (F) | 27.5
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
67,187 MW
12,872 MW
31,599 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend