## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-11-26
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 63.3 |  | 41.5 |  | 51.4 | 55
Low: |  | 43.5 |  | 18.3 |  | 42.3 | 40.5
Conditions: |  | Fog |  | Sunny |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 66655.4474 | 18 | 10489.5157 |  | 4332.6041 | 18110.44
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12897.0292 | 18 | 2698 |  | 838.3069 | 12174.55
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32158.1095 | 18 | 4060.6 |  | 2662.6 | 21915.23
Includes CFE, CISO & LDWP
WI TOTAL |  | 111710.5861 | 18 | 17248.1157 |  | 7241.9427 | 51923.22
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73123 | 17 | 13126
SRSG |  | 13090 | 17 | 4029
CAMX* |  | 32440 | 15 | 5369
WI TOTAL |  | 98340 | 18 | 20941
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 41.5
Low (F) | 18.3
Sunny |  | 66655.4474 | 69.87% | 69.87% | 30.13% | 66,655 MW
|  | 12897.0292 | 52.01% | 52.01% | 47.99% | 12,897 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 50.7 | 32158.1095 | 61.14% | 61.14% | 38.86% | 32,158 MW
Low (F) | 43.7
Moderate rain
Billings, MT
High (F) | 46.6
Low (F) | 26.4
Patchy moderate snow
Loveland, CO
High (F) | 48.6
Low (F) | 18.5
Sunny
Los Angeles, CA
High (F) | 87.8
Low (F) | 53.1
Sunny
Phoenix, AZ
High (F) | 85.1
Low (F) | 48.4
Sunny
Salt Lake City, UT
High (F) | 58.6
Low (F) | 30.4
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
66,655 MW
12,897 MW
32,158 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend