## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-12-02
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 61.7 |  | 39 |  | 44.6 | 45.5
Low: |  | 39.6 |  | 25.6 |  | 38.8 | 31.4
Conditions: |  | Sunny |  | Partly Cloudy |  | Patchy rain nearby | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 61696.6665 | 18 | 7539.4419 |  | 4010.2833 | 20124.95
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13173.4323 | 7 | 1912 |  | 856.2731 | 11639.4
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33018.2613 | 18 | 4848.99 |  | 2605.99 | 21872.78
Includes CFE, CISO & LDWP
WI TOTAL |  | 107875.3825 | 18 | 15035.4319 |  | 6832.9479 | 53324.13
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 76242 | 18 | 12800
SRSG |  | 13550 | 17 | 4339
CAMX* |  | 33462 | 11 | 6121
WI TOTAL |  | 98340 | 18 | 21927
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-12-01 | WACM | Path 36 |  | 4 | 5

## Map
95
Weather Information
Calgary, AB
High (F) | 39
Low (F) | 25.6
Partly Cloudy |  | 61696.6665 | 64.68% | 64.68% | 35.32% | 61,697 MW
|  | 13173.4323 | 53.13% | 53.13% | 46.87% | 13,173 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 48.4 | 33018.2613 | 62.78% | 62.78% | 37.22% | 33,018 MW
Low (F) | 40.5
Patchy rain nearby
Billings, MT
High (F) | 44.1
Low (F) | 25.2
Light freezing rain
Loveland, CO
High (F) | 42.8
Low (F) | 18.9
Moderate or heavy snow showers
Los Angeles, CA
High (F) | 71.1
Low (F) | 47.5
Partly Cloudy
Phoenix, AZ
High (F) | 75.2
Low (F) | 43.7
Sunny
Salt Lake City, UT
High (F) | 48.7
Low (F) | 31.1
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
61,697 MW
13,173 MW
33,018 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend