## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-12-03
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 65.7 |  | 41.4 |  | 44.4 | 50.2
Low: |  | 43.3 |  | 19.9 |  | 37.2 | 32.5
Conditions: |  | Sunny |  | Sunny |  | Mist | Mist
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 62328.6284 | 18 | 7695.3247 |  | 4051.3608 | 19538.03
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13196.6425 | 19 | 1746 |  | 857.7818 | 12950.36
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32536.8302 | 18 | 4868.69 |  | 2771.69 | 24153.48
Includes CFE, CISO & LDWP
WI TOTAL |  | 108030.0241 | 18 | 15296.0147 |  | 7060.0757 | 56353.87
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 74569 | 18 | 13672
SRSG |  | 13744 | 7 | 3731
CAMX* |  | 33362 | 10 | 5933
WI TOTAL |  | 98340 | 18 | 23594
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 41.4
Low (F) | 19.9
Sunny |  | 62328.6284 | 65.34% | 65.34% | 34.66% | 62,329 MW
|  | 13196.6425 | 53.22% | 53.22% | 46.78% | 13,197 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 50.2 | 32536.8302 | 61.86% | 61.86% | 38.14% | 32,537 MW
Low (F) | 38.8
Sunny
Billings, MT
High (F) | 33.6
Low (F) | 19.8
Light freezing rain
Loveland, CO
High (F) | 32.7
Low (F) | 20.2
Moderate or heavy snow showers
Los Angeles, CA
High (F) | 71.6
Low (F) | 51.6
Sunny
Phoenix, AZ
High (F) | 71.8
Low (F) | 44.1
Sunny
Salt Lake City, UT
High (F) | 48.6
Low (F) | 28.8
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
62,329 MW
13,197 MW
32,537 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend