## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-12-05
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 61 |  | 28 |  | 48.9 | 41.5
Low: |  | 40.1 |  | 13.4 |  | 42.4 | 31.3
Conditions: |  | Fog |  | Light freezing rain |  | Moderate rain | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60674.1124 | 18 | 7501.4538 |  | 3943.8173 | 19194.32
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13806.2493 | 7 | 2287 |  | 897.4062 | 11518.3
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32267.061 | 18 | 4072.44 |  | 2639.44 | 25452.58
Includes CFE, CISO & LDWP
WI TOTAL |  | 106146.1204 | 18 | 14552.8938 |  | 6806.4828 | 55914.2
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 74979 | 17 | 14131
SRSG |  | 14030 | 7 | 4402
CAMX* |  | 33240 | 10 | 5874
WI TOTAL |  | 98340 | 18 | 22092
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 28
Low (F) | 13.4
Light freezing rain |  | 60674.1124 | 63.6% | 63.6% | 36.4% | 60,674 MW
|  | 13806.2493 | 55.68% | 55.68% | 44.32% | 13,806 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 56.7 | 32267.061 | 61.35% | 61.35% | 38.65% | 32,267 MW
Low (F) | 45.5
Moderate rain
Billings, MT
High (F) | 46.6
Low (F) | 30
Patchy rain nearby
Loveland, CO
High (F) | 41.9
Low (F) | 19.4
Partly Cloudy
Los Angeles, CA
High (F) | 76.3
Low (F) | 48.7
Sunny
Phoenix, AZ
High (F) | 72
Low (F) | 41.7
Sunny
Salt Lake City, UT
High (F) | 41.5
Low (F) | 33.1
Heavy rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,674 MW
13,806 MW
32,267 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend