## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-12-11
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 65.3 |  | 11.8 |  | 52.9 | 60.6
Low: |  | 40.6 |  | 0.7 |  | 40.1 | 32.7
Conditions: |  | Fog |  | Moderate or heavy snow showers |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 58825.6269 | 18 | 9054.3082 |  | 3823.6657 | 20655.77
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13398.1381 | 18 | 2672 |  | 870.879 | 11107.03
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33862.3781 | 18 | 4858 |  | 3212 | 22662.85
Includes CFE, CISO & LDWP
WI TOTAL |  | 106086.1431 | 18 | 16584.3082 |  | 7333.8252 | 54187.65
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67868 | 8 | 17309
SRSG |  | 15096 | 9 | 6492
CAMX* |  | 35760 | 10 | 5471
WI TOTAL |  | 98340 | 9 | 29857
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 11.8
Low (F) | 0.7
Moderate or heavy snow showers |  | 58825.6269 | 61.67% | 61.67% | 38.33% | 58,826 MW
|  | 13398.1381 | 54.03% | 54.03% | 45.97% | 13,398 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 59.4 | 33862.3781 | 64.38% | 64.38% | 35.62% | 33,862 MW
Low (F) | 53.6
Patchy rain nearby
Billings, MT
High (F) | 58.8
Low (F) | 34
Patchy rain nearby
Loveland, CO
High (F) | 63
Low (F) | 33.1
Sunny
Los Angeles, CA
High (F) | 82.8
Low (F) | 51.3
Sunny
Phoenix, AZ
High (F) | 87.3
Low (F) | 48.4
Sunny
Salt Lake City, UT
High (F) | 67.3
Low (F) | 29
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
58,826 MW
13,398 MW
33,862 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend