## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-12-12
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 64 |  | 1 |  | 48.6 | 66.2
Low: |  | 40.8 |  | -6 |  | 43.7 | 38.7
Conditions: |  | Fog |  | Light freezing rain |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 58054.8136 | 18 | 8672.2113 |  | 3773.5629 | 20242.73
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13121.6432 | 18 | 2711 |  | 800.15 | 11097.01
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33184.2919 | 18 | 5315.42 |  | 3087.42 | 23244.55
Includes CFE, CISO & LDWP
WI TOTAL |  | 104360.7487 | 18 | 16698.6313 |  | 7171.8453 | 54306.29
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 70981 | 18 | 15996
SRSG |  | 13446 | 17 | 4793
CAMX* |  | 35606 | 11 | 6335
WI TOTAL |  | 98340 | 18 | 26082
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 1
Low (F) | -6
Light freezing rain |  | 58054.8136 | 60.86% | 60.86% | 39.14% | 58,055 MW
|  | 13121.6432 | 52.92% | 52.92% | 47.08% | 13,122 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 59.7 | 33184.2919 | 63.09% | 63.09% | 36.91% | 33,184 MW
Low (F) | 49.3
Partly Cloudy
Billings, MT
High (F) | 20.8
Low (F) | 12.6
Patchy light snow
Loveland, CO
High (F) | 54.1
Low (F) | 34
Sunny
Los Angeles, CA
High (F) | 73.8
Low (F) | 54
Fog
Phoenix, AZ
High (F) | 85.6
Low (F) | 49.3
Sunny
Salt Lake City, UT
High (F) | 64.2
Low (F) | 34.9
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
58,055 MW
13,122 MW
33,184 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend