## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-12-17
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 59.2 |  | 41.2 |  | 44.6 | 56.3
Low: |  | 46.8 |  | 16 |  | 39 | 43.3
Conditions: |  | Patchy rain nearby |  | Light freezing rain |  | Patchy rain nearby | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60984.1816 | 18 | 8330.0889 |  | 3963.9718 | 19262.91
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13208.9099 | 18 | 2802 |  | 873.07 | 10646.08
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33074.2747 | 18 | 5205.87 |  | 3153.87 | 20921.08
Includes CFE, CISO & LDWP
WI TOTAL |  | 107267.3662 | 18 | 16337.9589 |  | 7473.1719 | 50466.07
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71356 | 17 | 16153
SRSG |  | 13747 | 18 | 5003
CAMX* |  | 34960 | 12 | 6702
WI TOTAL |  | 98340 | 18 | 26123
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-12-16 | WACM | Path 36 |  | 4 | 1

## Map
95
Weather Information
Calgary, AB
High (F) | 41.2
Low (F) | 16
Light freezing rain |  | 60984.1816 | 63.93% | 63.93% | 36.07% | 60,984 MW
|  | 13208.9099 | 53.27% | 53.27% | 46.73% | 13,209 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 50.4 | 33074.2747 | 62.88% | 62.88% | 37.12% | 33,074 MW
Low (F) | 41.9
Moderate rain
Billings, MT
High (F) | 53.6
Low (F) | 28.2
Sunny
Loveland, CO
High (F) | 61.2
Low (F) | 29.8
Sunny
Los Angeles, CA
High (F) | 71.2
Low (F) | 55
Patchy rain nearby
Phoenix, AZ
High (F) | 81.7
Low (F) | 47.8
Sunny
Salt Lake City, UT
High (F) | 63.9
Low (F) | 32.8
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,984 MW
13,209 MW
33,074 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend