## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-12-22
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 59.9 |  | 6.8 |  | 43.5 | 60.8
Low: |  | 53.9 |  | -10.3 |  | 35.6 | 42.6
Conditions: |  | Heavy rain |  | Light freezing rain |  | Moderate rain | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 70034.1856 | 18 | 10356.3561 |  | 4552.2221 | 17856.23
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13241.2157 | 18 | 2840 |  | 860.679 | 7743.89
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32930.7998 | 18 | 4242.55 |  | 2294.55 | 14936.99
Includes CFE, CISO & LDWP
WI TOTAL |  | 116206.2011 | 18 | 17438.9061 |  | 7197.3361 | 40119.11
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71443 | 18 | 15881
SRSG |  | 13166 | 18 | 5012
CAMX* |  | 28363 | 18 | 18162
WI TOTAL |  | 114004 | 17 | 41412
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 6.8
Low (F) | -10.3
Light freezing rain |  | 70034.1856 | 73.42% | 73.42% | 26.58% | 70,034 MW
|  | 13241.2157 | 53.4% | 53.4% | 46.6% | 13,241 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 53.8 | 32930.7998 | 62.61% | 62.61% | 37.39% | 32,931 MW
Low (F) | 40.1
Moderate rain
Billings, MT
High (F) | 52.9
Low (F) | 29.3
Patchy rain nearby
Loveland, CO
High (F) | 64.9
Low (F) | 30.9
Sunny
Los Angeles, CA
High (F) | 61.7
Low (F) | 52.9
Fog
Phoenix, AZ
High (F) | 88.7
Low (F) | 49.3
Sunny
Salt Lake City, UT
High (F) | 72
Low (F) | 42.3
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
70,034 MW
13,241 MW
32,931 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend